## A) Instructions
Please complete all marked tabs in this workbook. Attach any supporting documents separately as needed to support your response.
Questions, please contact | secure.rfp@auruminstitute.org
RFP TITLE: | Call for manufacturers of design-locked, pregnancy-validated automated or semi-automated upper-arm cuff blood pressure measuring devices for community health worker-supported home-based monitoring in pregnancy
INSTRUCTIONS | Please fill out all tabs in this form as comprehensively as possible, and attach supporting documentation where applicable (e.g. validation reports, ISO 13485 certificates, instructions for use, usability/human factors file, regulatory certificates). Please provide the requested information for the exact device model(s) you are offering.
Note: This questionnaire is Annex IV to RFP-BP001-SECURE and is aligned to the accompanying Product Requirements Document (Annex V). Bidders are expected to provide all information requested, irrespective of whether they are interested in financial support. Where a question is not applicable, please indicate "N/A" and provide a brief explanation. Cuffless devices, wrist-/finger-cuff devices and manual auscultatory devices are out of scope for this RFP (see RFP Section 3.2).

## B) General
1 | Applicant details
Company / organisation:
Contact name:
Title:
Address:
Contact email:
Phone number:
1a | Please confirm that the applicant is the Legal Manufacturer of the device offered - the entity ultimately responsible for its design, manufacturing, labelling, intended use, quality, safety, regulatory compliance and lifecycle management. (Yes / No)
1b | Please confirm the applicant can make labelling and intended-use changes to the product (required to deliver the objectives of this RFP). (Yes / No)
2 | Company overview
2a | Please provide a brief overview of your organisation (history, size, main product lines, geographic presence).
2b | Please describe your current product registration footprint across Africa (countries where the device or comparable products are registered), to indicate your distribution network and market experience.
2c | Please attach a company organisational chart. (Confirm attached: Yes / No)
2d | Please describe your current company revenue / financial position.
2e | Please describe the sustainability plan for this product (e.g. in-house budget or external funding).
2f | Do you have experience supplying governments or NGOs? (Yes / No — if yes, please describe.)
Please provide complete the below checklist before submission
SUBMISSION CHECKLIST — RFP-BP001-SECURE
Please confirm each item before submitting. Mark Complete? as Y / N / N/A.
A. PROPOSAL PACKAGE (all required)
Annex I — Declaration (Form A): completed, signed and dated
Annex II — Quality Audit Agreement (Form B): completed and signed
Annex III — Financial Forensics Audit Agreement (Form C): completed and signed
Annex IV — RFP Excel Questionnaire: all applicable tabs completed
B. QUESTIONNAIRE TABS COMPLETED
Tab B — General
Tab C — Device Information
Tab D — Performance and Validation
Tab E — Usability and Human Factors
Tab F — Manufacturing information
Tab G — Development plan
Tab H — Regulatory
Tab I — Pricing
Tab J — Gender and Climate
(Where a question does not apply, "N/A" entered with a brief explanation)
C. SUPPORTING DOCUMENTS (separate attachments — NOT embedded in the Excel)
ISO 81060-2:2018 general-population validation report (for the exact model offered)
Pregnancy-population validation report (if available)
ISO 13485:2016 certificate(s) for applicable manufacturing site(s)
Conformity / type-test reports (IEC 60601 series, IEC 80601-2-30, ISO 81060)
Usability engineering file summary (IEC 62366-1), if available
Instructions for use / labelling sample
Regulatory approval certificates (SRA / WLA / IMDRF founding member), if held
Company overview and organisational chart
Development project plan / Gantt chart
Any other supporting evidence referenced in the response
D. SUBMISSION REQUIREMENTS
Proposal is in English
Signed by a duly authorised representative
Supporting documents attached as separate PDF / Excel files (not embedded)
Commercially confidential information clearly marked
Email subject line: RFP-PE005-SECURE – [Bidder Organization Name]
Sent to: secure.rfp@auruminstitute.org
Received by the deadline: 15 September 2026, 23:59 CAT
Proposal valid for a minimum of 120 days from the submission deadline

## C) Device Information
Complete this tab for the exact blood pressure measuring device mode you are proposing for consideration under this RFP. Where more than one model is proposed, provide the information for each model Complete a separate questionnaire
1 | Product ownership / accountability
1a | Please indicate the entity that is, or is intended to be, the legal manufacturer / manufacturer of record.
1b | Please indicate the owner(s) of the device design and associated intellectual property (including any licensed-in or jointly held IP), and the applicant’s rights to use and commercialise it.
1c | If any cuff, accessory or companion application is supplied by a third party, identify the owner and the applicant’s rights to integrate and commercialise it. Please also disclose any existing pricing or access agreement affecting this product (e.g. a pre-negotiated price set with a third party such as a foundation or donor).
1d | If the roles above involve different entities, please describe the relationships and contractual arrangements between them.
2 | Device description
2a | Model name(s) and catalogue / reference number(s) of the exact device(s) offered.
2b | Device type: fully automated or semi-automated (manual inflation) upper arm cuff device? Please describe the measurement technology (e.g. oscillometric).
2c | Measurement mode: single measurement, or averaging mode (e.g. automatic averaging of sequential readings)?
2d | Result output: how are systolic/diastolic (mmHg) and pulse displayed?
2e | Interpretation aid: does the device include an interpretation aid (e.g. a classification/alert against clinical thresholds, irregular-heartbeat detection, trend indication, MAP)? Please describe.
2f | Intended use: please state the current labelled intended use, including target population, use setting and intended operator (professional / lay / community).
2g | Cuff(s): please list all available cuffs and the arm-circumference range each covers.
2h | Are cuffs separately orderable as spare parts? (Yes / No)
2i | Memory: number of timestamped readings stored, and number of user profiles supported.
2j | Are readings retained when the device is powered off or the batteries are changed? (Yes / No)
2k | Physical parameters: device dimensions and weight (including cuff and batteries).
2l | Is a protective case supplied? (Yes / No)
3 | Stage of development
3a | Current development status of the exact model offered (e.g. commercially available; in development; prototype). If in development, briefly justify with supporting evidence.
3b | Has the device design been locked (design freeze)? If yes, describe the supporting documentation. If not, describe the remaining work and timeline to reach design lock.
4 | Power
4a | Power source: replaceable batteries (type), rechargeable battery (USB/solar) and/or mains adaptor. Does basic operation require any proprietary battery, charger or consumable?
4b | Battery life: number of measurements per battery set or charge cycle.
4c | Is there a low-battery indicator? (Yes / No)
5 | Environmental and durability
5a | Operating conditions: temperature and humidity ranges within which the device operates in-specification.
5b | Storage / transport conditions: temperature and humidity ranges.
5c | Mechanical robustness: drop resistance (m); ingress protection (IP) rating; any transport-simulation data.
5d | Service life: expected number of measurement cycles and/or years.
6 | Connectivity and data
6a | Does the device operate fully standalone (reading shown on the device) without a smartphone, application, network or subscription? (Yes / No — please describe.)
6b | Optional connectivity: Bluetooth / USB / other; whether the device remains fully functional without a phone or connection.
6c | Interoperability: any data export format; alignment with the WHO Digital Adaptation Kit for SMBP in pregnancy; compatibility with HMIS/DHIS2 or EMR workflows; data-protection measures.
6d | Shared-device use: how does the device keep readings correctly attributed when used across multiple women in a caseload?
6e | Software / firmware updates: does the device require or receive software updates (Y/N)?
6e.1 | If Y, how are updates managed and deployed, a
6e.2 | If (Y) any updates expected during the project period?
6f | DATA HANDLING - complete only if the device stores or transmits data (skip if the device is fully standalone and does not store or send data).
Data privacy: what data-privacy practices apply (consent, minimisation, retention, applicable data-protection regulations)?
6f.1 | Data storage and security: where is data stored (on-device / server / cloud), and what encryption and access controls are applied in transit and at rest?
6f.2 | Connectivity: what connections does the device use to transmit data (e.g. Bluetooth, cellular, Wi-Fi), and is transmission optional?
6f.3 | Interoperability: is the device/data compatible with EMR systems, HMIS/DHIS2, or other health information interfaces? Please describe supported formats/standards.
6f.4 | AI-tool compatibility: is the device or its data compatible with any AI-based analysis or decision-support tools? If yes, please describe (tool, purpose, how data is shared). If no, is any such capability planned?
7 | Service, calibration and maintenance
7a | Calibration: manufacturer-specified calibration interval; whether any per-user calibration is required (Yes / No); the calibration-verification procedure and whether it can be performed in-country.
7b | Routine user maintenance: tasks, frequency and the skill required.
7c | Spare parts and repair: availability of replacement cuffs and parts; repair/exchange route reachable from project countries; typical turnaround.
7d | Cleaning / disinfection: how the device and cuff are cleaned between users; tolerance of repeated disinfection.
8 | Packaging and configuration
8a | Kit contents: what is supplied with the device (cuff(s), batteries, case, IFU, etc.).
8b | Available pack sizes and bulk/institutional packaging options for programme procurement.

## D) Performance and Validation
Summarise the available evidence on the analytical and clinical performance of the exact model offered. For each item state the result/claim, the study method and standard, the population and setting, and whether the study was manufacturer-led or independent. Attach the supporting reports.
1 | Accuracy and validation status
1a | General-population validation to ISO 81060-2:2018 (≥85 participants) for the exact model: status, sample size and result (mean difference and SD for SBP and DBP). Please attach the report.
1b | Pregnancy special-population validation per ISO 81060-2:2018 (45 pregnant women: 15 normotensive, 15 gestational hypertension, 15 pre-eclampsia): status and result for the exact model. This is NOT required to apply.
1c | If pregnancy validation exists, in which country/setting was it conducted (e.g. sub-Saharan Africa / LMIC vs elsewhere)? State willingness to support additional in-country validation if required.
1d | Does the device meet ISO 81060-2:2018 criteria 1 and 2 for both SBP and DBP? (Yes / No)
1e | Does the device achieve a British Hypertension Society (BHS) grade? If so, please state the grade.
1f | Independent listings (e.g. STRIDE BP, VDL/Medaval) and peer-reviewed publications for the exact model.
1g | Lay-user performance: any evidence of accuracy/reliability when the device is operated by a lay user (e.g. pregnant woman) after brief training.
2 | Measurement performance
2a | Measurement range: SBP, DBP (mmHg) and pulse (bpm).
2b | Static pressure accuracy, display resolution and pulse accuracy.
2c | Repeatability across successive measurements; if available, disaggregated by BP stratum.
2d | Time to result (seconds).
2e | Error detection: how the device detects and signals measurement errors (movement, loose cuff, inflation failure) and prompts a repeat.
3 | Conformity to device standards
3a | Please indicate conformity status for each applicable standard and attach certificates/type-test reports.
|  | Standard | Conformity (Y / N / Planned) | Certificate/report attached (Y/N) | Notes
IEC 60601-1
IEC 60601-1-2 (EMC)
IEC 60601-1-11 (home healthcare)
IEC 80601-2-30 (automated NIBP)
ISO 81060-1
ISO 81060-2:2018
ISO 14971 (risk management)

## E) Usability and Human Factors
This device is intended for lay/community use in a home setting with community health worker (CHW) support. Please describe the usability and human-factors evidence for the exact model offered. Each question has its own response box.
1 | Human factors and usability
1a | Do you hold a usability engineering file per IEC 62366-1? (Yes / No)
1b | Does the usability file cover a lay-user profile in a home healthcare environment (IEC 60601-1-11)? Please describe and attach a summary.
1c | Has any summative usability evaluation been conducted with low-literacy and/or pregnant users? Please describe the findings and how they were incorporated into the design.
1d | Training burden: approximately how long does it take a lay user to operate the device correctly after a brief demonstration?
1e | How many user actions are required from device-off to a displayed reading?
1f | Display legibility: digit height (mm).
1g | Display legibility: contrast and readability in bright daylight and low light.
1h | Language independence: does operation require reading text, or is it icon-based?
1i | Which languages are available on the device and in the instructions for use?
1j | Cuff donning aids: index range markers, artery-position marker, one-handed self-application features.
1k | Privacy and feedback: audible/haptic signals and whether they can be muted for shared household settings.
2 | Labelling, instructions and training
2a | Instructions for use: are pictorial/low-literacy instructions available? In which languages? Please attach a sample.
2b | Training materials: describe any user/health-worker training materials (demonstration video, flipchart, competency checklist) and whether train-the-trainer support is available at launch.
2c | Does the training include calibration? (Yes / No)
2d | Who is permitted to perform calibration when it is due?
2e | After-sales support: who is responsible for parts replacement due to improper use after training?
2f | Is a quick-reference job aid available (covering measurement technique, thresholds and referral)? (Yes / No)
2g | If yes, please describe the job aid, and confirm willingness to align referral messaging with national ANC guidance / SUPREME-SECURE content.

## F) Manufacturing information
Complete this tab for the blood pressure measuring device your organisation is currently manufacturing or developing.
1 | Device manufacturing
Name of manufacturing site:
Address:
Contact email:
Phone number:
Relationship to the applicant (in-house / contract manufacturer):
Comments:
1a | If manufacturing is performed by a third party, describe the arrangements for quality oversight.
1b | Please state the ISO 13485:2016 status of the site where the device is (or will be) manufactured, and attach the certificate.
1c | Please describe current and planned manufacturing capacity (units/year), including scale-up considerations and lead times.
1d | Please describe how ongoing production and supply of this product will be sustained — for example the funding model (in-house budget or external funding) and how continuity of supply is assured over the project period and beyond.
1e | Please list any currently SRA-approved and/or otherwise quality-assured devices manufactured at this site.
1f | Please describe your organisation’s technical competency for this product — in-house R&D, engineering and design capability, relevant technical staff, and experience developing and maintaining devices of this type.
2 | Cuff and spare-parts supply
2a | Please describe the supply arrangement for cuffs and spare parts (in-house or third party), capacity and guaranteed availability period.
2b | What warranty do you offer, and what are its terms and conditions?
3 | Audits
Please list all audits of the device manufacturer of record conducted in the last three years, with the outcome/actions of each. For any critical/major findings, attach the inspection report, CAPAs and subsequent regulatory correspondence.
|  | Auditing body / agency | Date (year) | Purpose | Critical/major findings? (Y/N) | If yes, resolved? (Y/N) | Report attached? (Y/N)

## G) Development plan
Complete the milestone table for the device you are offering. For milestones already achieved, mark the status as "Complete".
1 | Anticipated timeline for each milestone
| Function | Milestone | Start date | End date | Duration (months) | Current status
| Design & development | Design lock achieved and documented (device)
| Design & development | Cuff range finalised, including inclusive/large-adult cuff
| Validation | ISO 81060-2:2018 general-population validation completed
| Validation | ISO 81060-2:2018 pregnancy special-population validation completed (if applicable)
| Validation | In-country validation (Ghana / Kenya) completed, where required
| Usability | IEC 62366-1 usability engineering / summative evaluation (lay use) completed
| Quality | ISO 13485:2016 certification of applicable sites
| Quality | Conformity to applicable IEC/ISO standards demonstrated
| Quality | Calibration approach / frequency confirmed
| Regulatory | Intended-use / labelling extended to lay/community use
| Regulatory | Regulatory dossier submitted – SRA or IMDRF founding-member authority
| Regulatory | Country registration submitted – Ghana
| Regulatory | Country registration submitted – Kenya
| Regulatory | Country registration submitted – additional project country (optional)
| Commercialisation | Distribution, service and calibration set up in project countries
2 | Risks and mitigation
2a | Please list any risks to achieving these timelines.
2b | Please describe the risk-mitigation strategies you will undertake.
3 | Project plan
3a | Please attach a project plan (Gantt chart or similar) covering the milestones above. (Confirm attached: Yes / No)

## H) Regulatory
1 | Head of Regulatory Affairs
Name:
Title:
Email:
Phone number:
2 | Regulatory experience and strategy
2a | Please describe your prior regulatory experience with blood pressure measuring devices (or comparable Class II medical devices).
2a-i | Please list your product’s intended use statement, explicitly — i.e. the regulatory-approved intended use, or the intended use for which you plan to seek regulatory approval.
2a-ii | Please describe your current product registration footprint across Africa (countries where the device or comparable products are registered), to indicate your distribution network and market experience.
2b | Proposed regulatory strategy for the device offered — target authorities (SRA or IMDRF founding-member authority) and country submissions — including the plan and timeline to obtain a lay/community-use intended-use claim where the framework permits.
RFP-aligned: SRA / IMDRF founding-member authority are the benchmarks (WLA de-emphasised).
2c | Please confirm your acknowledgement that no WHO Prequalification pathway currently exists for BP measuring devices, and your commitment to pursue PQ (or WLA) if and when a pathway becomes available. (Yes / No)
(Reworded to "PQ/WLA if and when available" per comment.)
3 | Existing approvals
Please list the device offered and other medical devices the applicant has registered or brought to market. If none, leave blank.
|  | Device (model) | Approved for home use? (Y/N) | SRA / IMDRF founding-member authority (e.g. FDA, CE, TGA, Health Canada) | Country approvals & dates | If none, intended authority & filing date
4 | Country registration plan
For each project country, please indicate current registration status and intended timeline for the device offered. Note: registration is expected in at least two countries, including Ghana and Kenya; the remaining countries are optional / for information.
|  | Country | Currently registered? (Y/N) | Intended submission date | Intended approval date | Notes
Ghana (expected)
Kenya (expected)
Malawi (optional)
Senegal (optional)
Tanzania (optional)
[Other – specify]

## I) Pricing
Complete this tab for the device you are offering. All prices ex-works, in USD.
1 | Ex-works price – device (incl. one cuff)
1a | Ex-works price per device including one standard cuff (USD).
2 | Ex-works price – cuffs and spare parts
2a | Standard replacement cuff (USD per cuff).
2b | Large-adult / wide-range cuff (USD per cuff).
2c | Other key spare parts – please specify (USD per part).
3 | Projected ex-works price at increasing annual volumes
Please fill in the price per device and per cuff at each annual volume tier.
| Annual volume (units/year) | Ex-works price per device (USD) | Price per cuff (USD)
1,000
10,000
100,000
4 | Total cost of ownership, warranty and service
4a | Please provide a transparent 5-year total cost of ownership per device (batteries, replacement cuffs, calibration, expected repairs), and if possible the cost per woman monitored across a caseload.
4b | Warranty period offered, and the service, calibration and maintenance offer and pricing.
5 | Order terms and supply conditions
5a | Minimum Order Quantity (MOQ).
5b | Standard manufacturing lead time.
Study supply: quantities that can be supplied free of charge for the SUPREME-SECURE evaluations, and the lead time. (Per RFP, limited to study quantities only.)
| Item | Quantity (free of charge) | Lead time
Devices
Standard cuffs
Large-adult cuffs
Spare/replacement units
5c | Any other supply conditions (e.g. price durability period, volume-tiered schedule, procurement-platform listings).
5d | What are your company’s commitments to access in LMICs?
6 | Operational support
6a | Technical support: how is technical/user support provided for the target countries (channels, languages, hours, response times)?
6b | Spare parts handling: how are spare parts and replacement cuffs stocked, ordered and delivered to the project countries, and what is the typical turnaround?

## J) Gender and Climate
1 | Workforce composition
Please provide the number of women and men in your organisation’s leadership and wider workforce.
(Please give absolute numbers, not proportions, so responses are comparable.)
|  | Women (number) | Men (number)
Senior leadership / management team
Other staff / workforce
2 | Gender equity policies
2a | Does your organisation have workplace policies to promote gender equity and safety (e.g. anti-discrimination, sexual-harassment, equal pay, parental leave)? If yes, please describe.
3 | Product design for women users
3a | Please describe how the device accommodates the target population, including inclusive cuff sizing for women with higher BMI, and any human-factors work conducted with female/pregnant users.
4 | Environmental sustainability
4a | Does your organisation have policies or targets on environmental sustainability or climate-smart manufacturing (energy efficiency, waste, packaging, repairability, battery/e-waste)? If yes, please describe.
4b | Has the manufacturing site assessed climate-related risks (e.g. heat, flooding, water scarcity, power instability)? If yes, describe one mitigation in place.
4c | Please describe any device take-back or e-waste / battery management arrangement at end of life.